## setup
Set Project and Month |  | month | month_str | month_num | project | sub_project1 | sub_project2
current year | 2021 | January | 01 | 1 | Milford 1 | Milford 1 Clipper | Milford 1 GE
current month | December | February | 02 | 2 | Milford 2 | Milford 2 GE
project | Weaver | March | 03 | 3 | El Campo
|  | April | 04 | 4 | Weaver
Date Calculations |  | May | 05 | 5 | Howard
month_num | 12 | June | 06 | 6 | Highland North
month_num_txt | 12 | July | 07 | 7 | Mustang Hills
days in current month | 31 | August | 08 | 8 | Patton
|  | September | 09 | 9 | Twin Ridges
Connection Authorizations |  | October | 10 | 10
dropbox token | C8HO860vI7gAAAAAAAAAAVz69G_NHVL16gQvkW5KeP9-nzyvgZIaxC-SdeiLlTEa | November | 11 | 11
|  | December | 12 | 12
MOR Path
folder path | /LR Services/Fengate/Weaver/12.Ops and Asset Management/07.MORs
EBITDA File Path
ebitda folder | /EBITDA Monthly Review
ebitda file name | Weaver EBITDA Review.xlsm
ebidta sheet name | MOR
rev walk summary sheet name | Rev Walk
REC File Path
rec folder | /LR Services/Fengate/Weaver/??
rec file name | Prospero_RECProd_Rev_Inv Track spreadsheet_2020_FINAL.xlsx
rec sheet name | Revenues
Physical Hedge Settlement Path
hedge folder | /LR Services/Fengate/Weaver/??
hedge file name | Prospero Energy Project_ Designated Account Tracking Balance.xlsx
hedge sheet name | 2020
First Solar PlantView Work Order & Planned Maintenance Path
maintenance file name | Completed Work Orders from First Solar Plant View.xlsx
sheet name | Sheet1
Safety File Path
safety folder | /LR Services/Fengate/Weaver/??
safety file name | 2020_Prospero_SafetyStats_MOR.xlsx
safety sheet name | Dec 2021
Compliance Path
compliance folder | /LR Services/Fengate/Weaver/??
compliance file name | 2020_Prospero_ComplianceSpreadsheet_FINAL.xlsx
compliance sheet names | NERC
EIA
Non-Income Tax
ISO_PUCT Compliance
Calculated sources:
ebitda full path | /EBITDA Monthly Review/2021/12. December/Weaver EBITDA Review.xlsm
rec full path | /LR Services/Fengate/Weaver/??/2021/Prospero_RECProd_Rev_Inv Track spreadsheet_2020_FINAL.xlsx
hedge settlement full path | /LR Services/Fengate/Weaver/??/Prospero Energy Project_ Designated Account Tracking Balance.xlsx
maintenance full path | /LR Services/Fengate/Weaver/12.Ops and Asset Management/07.MORs/2021/December/Completed Work Orders from First Solar Plant View.xlsx
safety full path | /LR Services/Fengate/Weaver/??/2020_Prospero_SafetyStats_MOR.xlsx
compliance full path | /LR Services/Fengate/Weaver/??/2020_Prospero_ComplianceSpreadsheet_FINAL.xlsx
Passwords
password to edit | lre

## certent summary data
Financial summary
##S | ebitda_mtd | 57.1965 | ##S | ebitda_mtd_sign | favorable
##S | percent_ebitda_mtd | 12.26%
##S | ebitda_ytd | 1.6035 | ##S | ebitda_ytd_sign | favorable
##S | percent_ebitda_ytd | 20.42%

## kpi summary
Table 1.1 KPI Summary
+ | + |  | + | + | + | + | + | +
|  | Month |  |  |  | YTD |  |  | +
Metric |  | Actual |  | Plan |  | Actual |  | Plan | +
EBITDA ($1,000's) |  | 523.6657 |  | 466.4692 |  | 9457.1397 |  | 7853.5967 | + | ##D | month_energy
Generation (MWh) |  | 0 |  | 0 |  | 0 |  | 0 | + | ##D | month_availability
Project Availability |  | - |  | - |  | - |  | - | + | ##D | month_budget_energy
Contractual Availability |  | - |  | - |  | - |  | - | + | ##D | month_contract_avail
Performance Index | [8 empty] | - | ##D | ytd_energy
[10 empty] | ##D | ytd_budget_energy
[10 empty] | ##D | ytd_availability
[10 empty] | ##D | ytd_contract_avail
[10 empty] | ##D | budget_project_avail
[10 empty] | ##D | budget_contract_avail

## key initiatives
Type of Project or Component | Description | Action | Target Completion
Year One Performance | Year one of project operation is a critical time for infant mortality failures and for establishing the proper monitoring of project performance. | Closely monitor turbine and balance-of-plant performance to identify early operating issues. | 2021-12-31
Bat Curtailment | Validate Vestas Bat curtailment software to QC functionality for permit compliance. | Monitor the Vestas Bat curtailment software during effective dates April 15-September 30 | 2021-04-14
Icing Sound Mode | Validate Vestas software controls to comply with the Weaver Winter Sound Plan. | Monitor Vestas Load and Sound Mode curtailment operation and compare results to performance specification. | 2021-01-22
Intellilight Operation | Validate Vestas RAL-Intellilight functionality | Monitor Vestas Intellilight software is programed and functioning when required | 2021-06-01
Turbine Performance Monitoring | Monitor turbine operation to assure optimal performance | Compare performance, utilizing GreenByte and other analytical tools. | Continuous
Construction Final Completion | Final close out items remaining to mark project complete from construction | Manage remaining close out items relating to construction for final completion | Q3 2021
Setpoint Verification | Validate setpoint accuracy to maintain compliance | Compare programmed values in Greenbyte to assure they align with the OEM values and site permit requirements | 2021-01-08

## safety
Table 3.1 Safety Summary
| + | + | + | + | + | + | + | + | +
| Weaver O&M | [8 empty] | +
| Month |  | Near Miss or Equipment Damage |  | Non-Recordable Injury |  | Recordable Injury |  | Estimated Man Hours | +
1 | January |  | 0 |  | 0 |  | 0 |  | 160 | +
2 | February |  | 0 |  | 0 |  | 0 |  | 120 | +
3 | March |  | 0 |  | 0 |  | 0 |  | 192 | +
4 | April |  | 0 |  | 0 |  | 0 |  | 168 | +
5 | May |  | 0 |  | 0 |  | 0 |  | 168 | +
6 | June |  | 0 |  | 0 |  | 0 |  | 152 | +
7 | July |  | 0 |  | 0 |  | 0 |  | 152 | +
8 | August |  | 0 |  | 0 |  | 0 |  | 155 | +
9 | September |  | 0 |  | 0 |  | 0 |  | 168 | +
10 | October |  | 0 |  | 0 |  | 0 |  | 168 | +
11 | November |  | 0 |  | 0 |  | 0 |  | 160 | +
12 | December |  | 0 |  | 0 |  | 0 |  | 192 | +
| Year to Date |  | 0 |  | 0 |  | 0 |  | 1955 | +
+
| Vestas | [8 empty] | +
| Month |  | Near Miss or Equipment Damage |  | Non-Recordable Injury |  | Recordable Injury |  | Estimated Man Hours | +
1 | January |  | 0 |  | 0 |  | 0 |  | 960 | +
2 | February |  | 0 |  | 0 |  | 0 |  | 249 | +
3 | March |  | 0 |  | 0 |  | 0 |  | 207 | +
4 | April |  | 0 |  | 0 |  | 0 |  | 398 | +
5 | May |  | 0 |  | 0 |  | 0 |  | 367 | +
6 | June |  | 0 |  | 0 |  | 0 |  | 128 | +
7 | July |  | 0 |  | 0 |  | 0 |  | 60 | +
8 | August |  | 0 |  | 0 |  | 0 |  | 31 | +
9 | September |  | 0 |  | 0 |  | 0 |  | 29 | +
10 | October |  | 0 |  | 0 |  | 0 |  | 309 | +
11 | November |  | 0 |  | 0 |  | 0 |  | 299 | +
12 | December |  | 0 |  | 0 |  | 0 |  | 0 | +
| Year to Date |  | 0 |  | 0 |  | 0 |  | 3037 | +

## BOP outages
Table 7.2 BoP outage summary
Start Date | End Date | Type | Description | +
|  |  | No BOP Planned Outages this month | +
-
-
-
-
-
-
-
-
-

## Turbine outages
Table 6.3 Offline and curtailed turbines
Site | Turbine | Category | Start Date | Close Date | Status | Power Set Point (kW) | Comment | +
[7 empty] | No Offline or Curtailed turbines this month | +
-
-
-
-
-
-
-
-
-
-
-
-
-

## planned maint.
Table 8.1 Maintenance Summary
Description | Planned Start | Planned End | Actual Start | Actual End | % Complete | Status | +
Substation Maintenance | 2021-10-05 | 2021-10-07 | - | - | 100% | planned | +
Turbine Major | 2021-10-01 | 2021-12-30 |  |  | 100% | planned | +
Turbine Minor | 2021-01-04 | 2021-03-30 | - | - | 100% | planned | +
| - | - | - | - |  |  | -
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-

## rev walk raw
Month to Date | Column2 | Column3 | Column4 | Year to Date | Column6 | Column7 | Column8 | Month to Date_1 | Column10 | Column11 | Column12 | Column13 | Year to Date_2 | Column15 | Column16 | Column17 | Column18
[9 empty] | Budget | Actual | Variance |  |  | Budget | Actual | Variance
Budget Price (Gen Wtd, Node), $/MWh |  | 22.5829 |  | Budget Price (Gen Wtd, Node), $/MWh |  | 74.3493 |  | Hedge Volume | 39897 | 39897 | 0 |  | Hedge Volume | 360698 | 360698 | 0
Actual Price (Gen Wtd, Node), $/MWh |  | 17.3426 |  | Actual Price (Gen Wtd, Node), $/MWh |  | 28.9845 |  | Hedge Price | 25.65 | 25.65 | 0 |  | Hedge Price | 25.65 | 25.65 | 0
Budget Unhedged Generation, MWh |  | 6563.0515 |  | Budget Unhedged Generation, MWh |  | 65510.0077 |  | Hedge Revenue | 1023358.05 | 1023358.05 | 0 |  | Hedge Revenue | 9251903.7 | 9251903.7 | 0
Unhedged Price Variance (at Budget Gen) |  | -34392.4817 |  | Unhedged Price Variance (at Budget Gen) |  | -2971850.4855
[8 empty] | Generation | 46460.0515 | 42633.8213 | -3826.2302 |  | Generation | 426208.0077 | 381865.471 | -44342.5367
Budget Generation, MWh |  | 46460.0515 |  | Budget Generation, MWh |  | 426208.0077 |  | Realized Price | 22.5829 | 17.3426 | -5.2403 |  | Realized Price | 74.3493 | 28.9845 | -45.3648
Actual Generation, MWh |  | 42633.8213 |  | Actual Generation, MWh |  | 381865.471 |  | Gen Sales | 1049204.2143 | 739381.9031 | -309822.3112 |  | Gen Sales | 31688282.5042 | 11068181.4458 | -20620101.0585
Actual Price (Gen Wtd, Node), $/MWh |  | 17.3426 |  | Actual Price (Gen Wtd, Node), $/MWh |  | 28.9845
Generation Variance (at Actual Price) |  | -66356.8331 |  | Generation Variance (at Actual Price) |  | -1285246.452 |  | Hedge Volume | -39897 | -39897 | 0 |  | Hedge Volume | -360698 | -360698 | 0
[8 empty] | Floating Price | 27.3681 | 18.3151 | -9.053 |  | Floating Price | 79.1345 | 34.3032 | -44.8313
Budget Shaping (Hub), $/MWh |  | 0 |  | Budget Shaping (Hub), $/MWh |  | 0 |  | Hedge Cost | -1091905.6225 | -730718.3475 | 361187.275 |  | Hedge Cost | -28543662.0498 | -12373095.6725 | 16170566.3773
Actual Shaping (Hub), $/MWh |  | 0.49751 |  | Actual Shaping (Hub), $/MWh |  | -2.7077
Hedge Volume, MWh |  | 39897 |  | Hedge Volume, MWh |  | 360698 |  | Energy Revenue | 980656.6418 | 1032021.6056 | 51364.9638 |  | Energy Revenue | 12396524.1544 | 7946989.4733 | -4449534.6811
Shaping Variance (at Hub) |  | 19849.0356 |  | Shaping Variance (at Hub) |  | -976655.0907
Budget Basis (Gen Wtd), $/MWh |  | -4.7852 |  | Budget Basis (Gen Wtd), $/MWh |  | -4.7852
Actual Basis (Gen Wtd), $/MWh |  | -1.47 |  | Actual Basis (Gen Wtd), $/MWh |  | -2.611
Hedge Volume, MWh |  | 39897 |  | Hedge Volume, MWh |  | 360698
Basis Variance (Gen Weighted) |  | 132265.243 |  | Basis Variance (Gen Weighted) |  | 784217.347
Budget Energy Sales |  | 980656.6418 |  | Budget Energy Sales |  | 12396524.1544
Actual Energy Sales |  | 1032021.6056 |  | Actual Energy Sales |  | 7946989.4733
Energy Sales Variance |  | 51364.9638 |  | Energy Sales Variance |  | -4449534.6811
Total Variance Explained |  | 51364.9638 |  | Total Variance Explained |  | -4449534.6811
Unexplained |  | 2.3283e-10 |  | Unexplained |  | 0
Hedge Weighted Actual Price (Hub), $/MWh |  | 18.3151 |  | Hedge Weighted Actual Price (Hub), $/MWh |  | 34.3032
Gen Weighted Actual Price (Hub), $/MWh |  | 18.8126 |  | Gen Weighted Actual Price (Hub), $/MWh |  | 31.5955

## revenue walk
Table 1.1 Revenue Walk
Month to Date |  | Year to Date
Budget Price (Gen Wtd, Node), $/MWh | 22.5829 | Budget Price (Gen Wtd, Node), $/MWh | 74.3493
Actual Price (Gen Wtd, Node), $/MWh | 17.3426 | Actual Price (Gen Wtd, Node), $/MWh | 28.9845
Budget Unhedged Generation, MWh | 6563.0515 | Budget Unhedged Generation, MWh | 65510.0077
Unhedged Price Variance (at Budget Gen) | -34392.4817 | Unhedged Price Variance (at Budget Gen) | -2971850.4855
Budget Generation, MWh | 46460.0515 | Budget Generation, MWh | 426208.0077
Actual Generation, MWh | 42633.8213 | Actual Generation, MWh | 381865.471
Actual Price (Gen Wtd, Node), $/MWh | 17.3426 | Actual Price (Gen Wtd, Node), $/MWh | 28.9845
Generation Variance (at Actual Price) | -66356.8331 | Generation Variance (at Actual Price) | -1285246.452
Budget Shaping (Hub), $/MWh | 0 | Budget Shaping (Hub), $/MWh | 0
Actual Shaping (Hub), $/MWh | 0.49751 | Actual Shaping (Hub), $/MWh | -2.7077
Hedge Volume, MWh | 39897 | Hedge Volume, MWh | 360698
Shaping Variance (at Hub) | 19849.0356 | Shaping Variance (at Hub) | -976655.0907
Budget Basis (Gen Wtd), $/MWh | -4.7852 | Budget Basis (Gen Wtd), $/MWh | -4.7852
Actual Basis (Gen Wtd), $/MWh | -1.47 | Actual Basis (Gen Wtd), $/MWh | -2.611
Hedge Volume, MWh | 39897 | Hedge Volume, MWh | 360698
Basis Variance (Gen Weighted) | 132265.243 | Basis Variance (Gen Weighted) | 784217.347
Budget Energy Sales | 980656.6418 | Budget Energy Sales | 12396524.1544
Actual Energy Sales | 1032021.6056 | Actual Energy Sales | 7946989.4733
Energy Sales Variance | 51364.9638 | Energy Sales Variance | -4449534.6811
Total Variance Explained | 51364.9638 | Total Variance Explained | -4449534.6811
Unexplained | 2.3283e-10 | Unexplained | 0
Hedge Weighted Actual Price (Hub), $/MWh | 18.3151 | Hedge Weighted Actual Price (Hub), $/MWh | 34.3032
Gen Weighted Actual Price (Hub), $/MWh | 18.8126 | Gen Weighted Actual Price (Hub), $/MWh | 31.5955

## ebitda raw
Column1 | Column2 | Column3 | Column4 | Column5 | Column6 | Column7 | Column8 | Column9 | Column10 | Column11 | Column12 | Column13 | Column14 | Column15 | Column16 | Column17
|  | ($1,000's unless otherwise indicated) | MTD Act | MTD Bud | F/(U) | % F/(U) |  | Comments |  | ($1,000's unless otherwise indicated) | YTD Act | YTD Bud | F/(U) | % F/(U) |  | Comments
Site Generation |  | Site Generation (MWh) | 24282.06 | 22899.8713 | 1382.1887 | 0.060358 |  |  |  | Site Generation (MWh) | 220041.82 | 218658.7189 | 1383.1011 | 0.0063254
|  | Revenues | [7 empty] | Revenues
|  | Electricity sales | 883.3549 | 814.4967 | 68.8581 | 0.084541 |  |  |  | Electricity sales | 8034.105 | 7666.0564 | 368.0487 | 0.04801
|  | REC sales | 0 | 0 | 0 | 0 |  |  |  | REC sales | 5269.1596 | 4484.745 | 784.4146 | 0.17491
|  | Other revenues | 0 | 25.8813 | -25.8813 | -1 |  |  |  | Other revenues | 0 | 358.3629 | -358.3629 | -1
|  | Total Revenues | 883.3549 | 840.378 | 42.9769 | 0.05114 |  |  |  | Total Revenues | 13303.2646 | 12509.1643 | 794.1004 | 0.063481
|  | Operations and Maintenance | [7 empty] | Operations and Maintenance
|  | Project Management Fees | 25.5078 | 25.7349 | 0.22719 | 0.008828 |  |  |  | Project Management Fees | 290.7771 | 308.8193 | 18.0422 | 0.058423
|  | O&M Fees and Onsite Labor | 104.8063 | 102.9441 | -1.8622 | -0.01809 |  |  |  | O&M Fees and Onsite Labor | 1061.1149 | 1175.3426 | 114.2276 | 0.097187
|  | Routine Maintenance | 6.0979 | 7.9167 | 1.8187 | 0.22973 |  | Rock Anchor Tensioning |  | Routine Maintenance | 187.1011 | 165 | -22.1011 | -0.13395
|  | Repair | 0 | 0 | 0 | 0 |  |  |  | Repair | 0 | 0 | 0 | 0
|  | Land | 93.9 | 64.2913 | -29.6087 | -0.46054 |  |  |  | Land | 846.3878 | 914.6672 | 68.2793 | 0.074649
|  | Taxes | 91.2883 | 122.8428 | 31.5546 | 0.25687 |  |  |  | Taxes | 746.3786 | 1474.1138 | 727.7352 | 0.49368
|  | Insurance | 6.3516 | 21.5 | 15.1484 | 0.70458 |  |  |  | Insurance | 242.255 | 258 | 15.745 | 0.061027
|  | Professional Services | 21.8521 | 8.389 | -13.4631 | -1.6048 |  | Power Engineers MOD Testing |  | Professional Services | 312.9572 | 130.8249 | -182.1323 | -1.3922
|  | Environmental | 0 | 2.0868 | 2.0868 | 1 |  | Eagle Compliance |  | Environmental | 19.7285 | 25.042 | 5.3135 | 0.21218
|  | Utilities | 9.2122 | 16.9532 | 7.741 | 0.45661 |  |  |  | Utilities | 133.0997 | 188.7579 | 55.6582 | 0.29487
|  | Facilities | 0.67303 | 1.25 | 0.57697 | 0.46158 |  | BlackRock Cash Received |  | Facilities | 6.325 | 15 | 8.675 | 0.57833
|  | Total Operating Costs | 359.6891 | 373.9088 | 14.2197 | 0.03803 |  |  |  | Total Operating Costs | 3846.1249 | 4655.5676 | 809.4426 | 0.17387
|  | Project EBITDA | 523.6657 | 466.4692 | 57.1965 | 0.12262 |  |  |  | Project EBITDA | 9457.1397 | 7853.5967 | 1603.543 | 0.20418

## month financial
| 175 | 3 | 53 | 3 | 51 | 3 | 52 | 3 | 44 |  | 232
Table 4-1 Month to Date Financial Performance
column: | C |  | D |  | E |  | F |  | G |  | I
row: | + | + | + | + | + | + | + | + | + | + | +
| ($1,000's unless otherwise indicated) |  | MTD Act |  | MTD Bud |  | F/(U) |  | %F/(U) |  | Comments | +
3 | Site Generation (MWh) |  | 24282.06 |  | 22899.8713 |  | 1382.1887 |  | 6.036% |  |  | +
4 | [11 empty] | +
5 | Revenues | [10 empty] | +
6 | Electricity sales |  | 883.3549 |  | 814.4967 |  | 68.8581 |  | 8.454% |  |  | +
7 | REC and PBI sales |  | 0 |  | 0 |  | 0 |  | 0% |  |  | +
8 | Other revenues |  | 0 |  | 25.8813 |  | -25.8813 |  | -100% |  |  | +
9 | Total Revenues |  | 883.3549 |  | 840.378 |  | 42.9769 |  | 5.114% |  |  | +
10 | [11 empty] | +
11 | Operations and Maintenance | [10 empty] | +
12 | Project Management Fees |  | 25.5078 |  | 25.7349 |  | 0.22719 |  | 0.8828% |  |  | +
13 | O&M Fees and Onsite Labor |  | 104.8063 |  | 102.9441 |  | -1.8622 |  | -1.809% |  |  | +
14 | Routine Maintenance |  | 6.0979 |  | 7.9167 |  | 1.8187 |  | 22.97% |  |  | +
15 | Repair |  | 0 |  | 0 |  | 0 |  | 0% |  |  | +
16 | Land |  | 93.9 |  | 64.2913 |  | -29.6087 |  | -46.05% |  |  | +
17 | Taxes |  | 91.2883 |  | 122.8428 |  | 31.5546 |  | 25.69% |  |  | +
18 | Insurance |  | 6.3516 |  | 21.5 |  | 15.1484 |  | 70.46% |  |  | +
19 | Professional Services |  | 21.8521 |  | 8.389 |  | -13.4631 |  | -160.5% |  |  | +
20 | Environmental |  | 0 |  | 2.0868 |  | 2.0868 |  | 100% |  |  | +
21 | Utilities |  | 9.2122 |  | 16.9532 |  | 7.741 |  | 45.66% |  |  | +
22 | Facilities |  | 0.67303 |  | 1.25 |  | 0.57697 |  | 46.16% |  |  | +
23 | Total Operating Costs |  | 359.6891 |  | 373.9088 |  | 14.2197 |  | 3.803% |  |  | +
24 | [11 empty] | +
25 | Project EBITDA |  | 523.6657 |  | 466.4692 |  | 57.1965 |  | 12.26% |  |  | +

## ytd financial
| 175 | 3 | 53 | 3 | 51 | 3 | 52 | 3 | 44 |  | 232
Table 4-2 Year to Date Financial Performance
column: | K |  | L |  | M |  | N |  | O |  | Q
row: | + | + | + | + | + | + | + | + | + | + | +
| ($1,000's unless otherwise indicated) |  | YTD Act |  | YTD Bud |  | F/(U) |  | %F/(U) |  | Comments | +
3 | Site Generation (MWh) |  | 220041.82 |  | 218658.7189 |  | 1383.1011 |  | 0.6325% |  |  | +
4 | [11 empty] | +
5 | Revenues | [10 empty] | +
6 | Electricity sales |  | 8034.105 |  | 7666.0564 |  | 368.0487 |  | 4.801% |  |  | +
7 | REC and PBI sales |  | 5269.1596 |  | 4484.745 |  | 784.4146 |  | 17.49% |  |  | +
8 | Other revenues |  | 0 |  | 358.3629 |  | -358.3629 |  | -100% |  |  | +
9 | Total Revenues |  | 13303.2646 |  | 12509.1643 |  | 794.1004 |  | 6.348% |  |  | +
10 | [11 empty] | +
11 | Operations and Maintenance | [10 empty] | +
12 | Project Management Fees |  | 290.7771 |  | 308.8193 |  | 18.0422 |  | 5.842% |  |  | +
13 | O&M Fees and Onsite Labor |  | 1061.1149 |  | 1175.3426 |  | 114.2276 |  | 9.719% |  |  | +
14 | Routine Maintenance |  | 187.1011 |  | 165 |  | -22.1011 |  | -13.39% |  |  | +
15 | Repair |  | 0 |  | 0 |  | 0 |  | 0% |  |  | +
16 | Land |  | 846.3878 |  | 914.6672 |  | 68.2793 |  | 7.465% |  |  | +
17 | Taxes |  | 746.3786 |  | 1474.1138 |  | 727.7352 |  | 49.37% |  |  | +
18 | Insurance |  | 242.255 |  | 258 |  | 15.745 |  | 6.103% |  |  | +
19 | Professional Services |  | 312.9572 |  | 130.8249 |  | -182.1323 |  | -139.2% |  |  | +
20 | Environmental |  | 19.7285 |  | 25.042 |  | 5.3135 |  | 21.22% |  |  | +
21 | Utilities |  | 133.0997 |  | 188.7579 |  | 55.6582 |  | 29.49% |  |  | +
22 | Facilities |  | 6.325 |  | 15 |  | 8.675 |  | 57.83% |  |  | +
23 | Total Operating Costs |  | 3846.1249 |  | 4655.5676 |  | 809.4426 |  | 17.39% |  |  | +
24 | [11 empty] | +
25 | Project EBITDA |  | 9457.1397 |  | 7853.5967 |  | 1603.543 |  | 20.42% |  |  | +

## rec raw
Prospero Energy Project, LLC | Through: | 12/1/2020 | Column4 | Column5 | Column6 | Column7 | Column8 | Column9 | Column10 | Column11 | Column12 | Column13 | Column14 | Column15 | Column16 | Column17 | Column18
=inputed cells
[9 empty] | 86192 | 79848 | 65386 | 59682 | 47495 | 42634
Prospero REC Production and Revenue* |  |  | 2020-01-01 | 2020-02-01 | 2020-03-01 | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2020 YTD
|  |  | Actual (MWh) | Actual (MWh) | Actual (MWh) | Actual (MWh) | Actual (MWh) | Actual (MWh) | Actual (MWh) | Actual (MWh) | Actual (MWh) | Actual (MWh) | Actual (MWh) | Actual (MWh) | TOTAL (MWh)
Contracted REC Volumes | Facebook | 0.9 |  |  |  | 1494 | 69839 | 95238 | 77572.8 | 71863.2 | 58847.4 | 53713.8 | 42745.5 | 38370.6 | 509684.3
| SENA | 0.1 | 2020-07-01: 8619.2; 2020-08-01: 7984.8; 2020-09-01: 6538.6; 2020-10-01: 5968.2; 2020-11-01: 4749.5; 2020-12-01: 4263.4 | 38123.7
| Total Generation (MWh) |  | N/A | N/A | N/A | 1494 | 69839 | 95238 | 86192 | 79848 | 65386 | 59682 | 47495 | 42634 | 547808
Contracted REC Revenue ($) | Facebook | 0.5 | 0 | 0 | 0 | 747 | 34919.5 | 47619 | 38786.4 | 35931.6 | 29423.7 | 26856.9 | 21372.75 | 19185.3 | 254842.15
| SENA | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 8619.2 | 7984.8 | 6538.6 | 5968.2 | 4749.5 | 4263.4 | 38123.7
| Total Revenue ($) | 0 | N/A | N/A | N/A | 747 | 34919.5 | 47619 | 47405.6 | 43916.4 | 35962.3 | 32825.1 | 26122.25 | 23448.7 | 292965.85
*Note- Total represented above is those RECs made available by ERCOT on August 15, 2020 (e.g. 45 days after end of each quarter)

## REC financial
Current month
2020-10-01
Table 4.4 REC | [8 empty] | FORMAT OPTION 2 (TABLE 4.4) |  |  | 2020-01-01 | 2020-02-01 | 2020-03-01 | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01
|  | Contracted REC Volume (MWh) |  |  | Contracted REC Revenue ($) |  |  | + |  |  |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Actual YTD
|  | Facebook | SENA | Total Generation | Facebook | SENA | Total Revenue | + |  |  |  | Actual | Actual | Actual | Actual | Actual | Actual | Actual | Actual | Actual | Actual | Estimate | Estimate
|  | 90% | 10% |  | 0.5 | 1 |  | + |  | Contracted REC Volume (MWh)
[8 empty] | + |  | Facebook | 90% |  |  |  | 1494 | 69839 | 95238 | 85678 | 79504 | 67606 | 60860 | 48049 | 41809 | 166571
| Actual | [6 empty] | - |  | SENA | 10% | bar: 2020-04-01 to 2020-12-01
| January |  |  | - |  |  | - | + |  | Total Generation |  | - | - | - | 1494 | 69839 | 95238 | 85678 | 79504 | 67606 | 60860 | 48049 | 41809 | 166571
| February |  |  | - |  |  | - | +
| March |  |  | - |  |  | - | + |  | Contracted REC Revenue ($)
| April | 1494 | - | 1494 | 747 | - | 747 | + |  | Facebook | 0.5 |  |  |  | 747 | 34920 | 47619 | 42839 | 39752 | 33803 | 30430 | 24024 | 20905 | 83286
| May | 69839 | - | 69839 | 34919.5 | - | 34919.5 | + |  | SENA | 1 |  |  |  | - | - | - | 9520 | 8834 | 7512 | 6762 | 5339 | 4645 | -
| June | 95238 | - | 95238 | 47619 | - | 47619 | + |  | Total Generation |  | - | - | - | 747 | 34920 | 47619 | 52359 | 48586 | 41315 | 37192 | 29363 | 25550 | 83286
| July | 77572.8 | 8619.2 | 86192 | 38786.4 | 8619.2 | 47405.6 | +
| August | 71863.2 | 7984.8 | 79848 | 35931.6 | 7984.8 | 43916.4 | +
| September | 58847.4 | 6538.6 | 65386 | 35931.6 | 7984.8 | 43916.4 | +
| October | 53713.8 | 5968.2 | 59682 | 26856.9 | 5968.2 | 32825.1 | +
| November | 42745.5 | 4749.5 | 47495 | 21372.75 | 4749.5 | 26122.25 | +
| December | 38370.6 | 4263.4 | 42634 | 19185.3 | 4263.4 | 23448.7 | +
+
| Actual YTD | 509684.3 | 38123.7 | 547808 | 254842.15 | 38123.7 | 292965.85 | +

## hedge raw
Column1 | Column2 | Column3 | Column4 | Column5 | Column6 | Column7 | Column8
Prospero Energy Project, LLC- Physical Hedge Settlement
Activity | 44013 | 44044 | 44075 | 44105 | 44136 | 44166
Hedge Settlement Details
Hedge Quantity (MWh) | 79205 | 73873 | 63870 | 58373 | 45480 | 39897
Actual Quantity (MWh) | 86395 | 80067 | 65593.0418 | 59682 | 47495 | 42633.82
ERCOT Market Settlement (Gen Wtd Node)
Hedge Settlement Price (North Hub) | 25.3758 | 56.4593 | 27.3741 | 43.4303 | 25.31 | 20.19
Floating Price (Prospero Node) | 23.1157 | 47.6909 | 23.8626 | 37.69 | 22.74 | 19.96
Hedge Quantity * North Hub Floating Price | 2009888.59 | 4170814.67 | 1748385.0225 | 2535156.44 | 1178132.6025 | 739381.9
Actual Quantity * Prospero Node Realized Floating Price | 1997078.35 | 3818467.01 | 1565223.7018 | 1843952.94 | 1074874.1825 | 730718.35
Mismatch/Imbalance (before $3.00 Basis Adjustment) | -12810.24 | -352347.66 | -183161.3207 | -691203.5 | -103258.42 | -8663.55
Node to Hub Basis
Actual Basis (Gen Wtd),$/MWh | -1.6 | -2.06 | -1.74 | -6.79 | -2.57
Revenue Walk
Fixed Hedge Payment | 2031608 | 1894842.45 | 1638265.5 | 1497267.45 | 1166562 | 1023358.05
(-) EMA/QSE Fee | -8000 | -8000 | -8000 | -8000 | -8000 | -8000
(-) $3.00 Basis Adjustment | -237615 | -221619 | -191610 | -175119 | -136440 | -119691
(-) Non-Energy ERCOT Fees | -12810.24 | -18685.2744 | -3914.7193 | -1465.32 | -1748.47 | -1317.06
(+/-) Tracking Account Interest | 0 | 322.18 | 232.33 | -1087.84 | -970.93 | -684.65
Net Revenue Settlement Amount Paid to Prospero | 1773182.76 | 1646860.3556 | 1434973.1107 | 1311595.29 | 1019402.6 | 893665.34
Hedge Tracking Account
Tracking Account Adjustment | 224804.76 | -130728.66 | 4533.96 | -525556.41 | 33181.58 | 125059.35
Tracking Account Funding Cap | 1000000 | 1000000 | 1000000 | 1000000 | 1000000 | 1000000
Tracking Account Credit Limit | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000
Remaining Credit in Tracking Account | 10224804.76 | 10094076.1 | 10098610.06 | 9573053.65 | 9606235.23 | 9731294.58
Tracking Accounting Balance | 224804.76 | 94076.1 | 98610.06 | -426946.35 | -393764.77 | -268705.42

## hedge financial
Table 4.3 Hedge Settlement
| get up to 4 previous months: |  | 2021-09-01 |  | 2021-10-01 |  | 2021-11-01 |  | 2021-12-01
| change + to - above table columns if it's early in year and no previous YTD months exist |  | 44440 |  | 44470 |  | 44501 |  | 44531
| + | + | + | + | + | + | + | + | + | - | - | - | -
|  |  | September |  | October |  | November |  | December
Hedge Settlement Details
| Hedge Quantity (MWh) |  | #N/A |  | #N/A |  | #N/A |  | #N/A |  | 45480 |  | 39897
| Actual Quantity (MWh) |  | #N/A |  | #N/A |  | #N/A |  | #N/A |  | 47495 |  | 42633.82
ERCOT Market Settlement
| Hedge Settlement Price (North Hub) |  | #N/A |  | #N/A |  | #N/A |  | #N/A |  | 25.31 |  | 20.19
| Floating Price (Prospero Node) |  | #N/A |  | #N/A |  | #N/A |  | #N/A |  | 22.74 |  | 19.96
| Hedge Quantity * North Hub Floating Price |  | #N/A |  | #N/A |  | #N/A |  | #N/A |  | 1178132.6025 |  | 739381.9
| Actual Quantity * Prospero Node Realized Floating Price |  | #N/A |  | #N/A |  | #N/A |  | #N/A |  | 1074874.1825 |  | 730718.35
| Mismatch/Imbalance (before $3.00 basis adjustment) |  | #N/A |  | #N/A |  | #N/A |  | #N/A |  | -103258.42 |  | -8663.55
Node to Hub Basis
| Actual Basis - Gen WTD ($/MWh) |  | #N/A |  | #N/A |  | #N/A |  | #N/A |  | -2.57 |  | 0
Revenue Walk
| Fixed Hedge Payment |  | #N/A |  | #N/A |  | #N/A |  | #N/A |  | 1166562 |  | 1023358.05
| (-) EMA/QSE Fee |  | #N/A |  | #N/A |  | #N/A |  | #N/A |  | -8000 |  | -8000
| (-) $3.00 Basis Adjustment |  | #N/A |  | #N/A |  | #N/A |  | #N/A |  | -136440 |  | -119691
| (-) RT Imbalance/True Up |  | #N/A |  | #N/A |  | #N/A |  | #N/A |  | -1748.47 |  | -1317.06
| (+/-) Tracking Account Interest |  | #N/A |  | #N/A |  | #N/A |  | #N/A |  | -970.93 |  | -684.65
| Net Revenue Settlement Amount Paid to Prospero |  | #N/A |  | #N/A |  | #N/A |  | #N/A |  | 1019402.6 |  | 893665.34
Hedge Tracking Account
| Tracking Account Adjustment |  | #N/A |  | #N/A |  | #N/A |  | #N/A |  | 33181.58 |  | 125059.35
| Tracking Account Funding Cap |  | #N/A |  | #N/A |  | #N/A |  | #N/A |  | 1000000 |  | 1000000
| Tracking Account Credit Limit |  | #N/A |  | #N/A |  | #N/A |  | #N/A |  | 10000000 |  | 10000000
| Remaining Credit in Tracking Account |  | #N/A |  | #N/A |  | #N/A |  | #N/A |  | 9606235.23 |  | 9731294.58
| Tracking Accounting Balance |  | #N/A |  | #N/A |  | #N/A |  | #N/A |  | -393764.77 |  | -268705.42

## wo raw
Work Order Number | Completed Date | Description | Location | Asset Description | Work Type | Priority | Warranty Claim # | Job Plan | PM #
NA03069725 | 44194 | Tracker actuator PRS1_B007_P009.GWY072.TRK001.ARR043 is STUCK on 2020-12-28. | Block: 07 PCS: 09 | Nextracker Network Control Unit - NCU 01, PCS 09, Block 07 | WO | 2 | -- | -- | --
NA03066371 | 44191 | Tracker actuator PRS1_B005_P005.GWY048.TRK002.ARR077 is STUCK on 2020-12-25. | Block: 05 PCS: 05 | Nextracker Network Control Unit - NCU 02, PCS 05, Block 05 | WO | 2 | -- | -- | --
NA03065840 | 44190 | Tracker actuator PRS1_B005_P005.GWY048.TRK002.ARR077 is STUCK on 2020-12-24. | Block: 05 PCS: 05 | Nextracker Network Control Unit - NCU 02, PCS 05, Block 05 | WO | 2 | -- | -- | --

## work order log
Table 8.2 Work Order Log
Completed | WO Number | Description | Asset Description | Priority
2020-12-29 | NA03069725 | Tracker actuator PRS1_B007_P009.GWY072.TRK001.ARR043 is STUCK on 2020-12-28. | Nextracker Network Control Unit - NCU 01, PCS 09, Block 07 | 2
2020-12-26 | NA03066371 | Tracker actuator PRS1_B005_P005.GWY048.TRK002.ARR077 is STUCK on 2020-12-25. | Nextracker Network Control Unit - NCU 02, PCS 05, Block 05 | 2
2020-12-25 | NA03065840 | Tracker actuator PRS1_B005_P005.GWY048.TRK002.ARR077 is STUCK on 2020-12-24. | Nextracker Network Control Unit - NCU 02, PCS 05, Block 05 | 2
Formulas:
Completed = Query_WO_Prospero[Completed Date]

## warranty claims
Table 9.1 Warranty Claim Log
Start Date | End Date | Status | Description | Claim Number | +
2020-12-23 | 2021-01-12 | Closed | O&M Tech Room Ceiling Repair | 1 | +
2020-12-29 | 2021-02-09 | Closed | DVAR Component Failures | 2 | +
2020-12-29 |  | Open | Loss of Comm due to FiberOptic water intrusion | 3 | +
2020-12-29 | 2021-02-08 | Closed | Substation Automatic Generator fail to start in auto | 4 | +
2021-01-12 |  | Open | SBWW-001 Junction 600A Dead Break Elbow and Bus size | 5 | +
2021-03-04 |  | Open | T12 Fiber Optic Cable Repair | 6 | +
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-

## compliance eia raw
EIA - Energy Information Agency | Column2 | Column3 | Column4 | Column5 | Column6 | Column7
Prospero Solar - Plant Code: 57766 | Column6: Task In PowerHub?
EIA 860 - Electric Generation Report - Annual Filings
Year | Column2: Due; Column3: Submitted; Column4: Status
2019 | 43899 | 43897 | N/A |  |  | Waiting for 2021 due date to come out prior to placing in PH
EIA 923 - Power Plant Operations - Annual Filings
Year | Column2: Due; Column3: Submitted; Column4: Status
2019 | 43913 | 43910 | N/A |  |  | Waiting for 2021 due date to come out prior to placing in PH
EIA 923 - Power Plant Operations - Monthly Filings- YEAR 2020
Month | Column2: Due; Column3: Submitted; Column4: Status
Jan | 43890 | 43871 | Complete |  | x
Feb | 43921 | 43901 | Complete |  | x
Mar | 43951 | 43931 | Complete |  | x
Apr | 43982 | 43965 | Complete |  | x
May | 44012 | 43994 | Complete |  | x
Jun | 44043 | 44026 | Complete |  | x
Jul | 44074 | 44068 | Complete |  | x
Aug | 44104 | 44102 | Complete |  | x
Sep | 44135 | 44132 | Complete |  | x
Oct | 44165 | 44162 | Complete |  | x
Nov | 44196 | 44193 | Complete |  | x
Dec | Column2: 44227; Column6: x

## compliance EIA
Table 10.1 EIA Compliance
EIA 860 - Electric Generation Report - Annual Filings
Year | Due | Submitted | Status
2019 | 2020-03-09 | 2020-03-07 | N/A
EIA 923 - Power Plant Operations - Annual Filings
Year | Due | Submitted | Status
2019 | 2020-03-23 | 2020-03-20 | N/A
EIA 923 - Power Plant Operations - Monthly Filings - 2020
Month | Due | Submitted | Status
Jan | 2020-02-29 | 2020-02-10 | Complete
Feb | 2020-03-31 | 2020-03-11 | Complete
Mar | 2020-04-30 | 2020-04-10 | Complete
Apr | 2020-05-31 | 2020-05-14 | Complete
May | 2020-06-30 | 2020-06-12 | Complete
Jun | 2020-07-31 | 2020-07-14 | Complete
Jul | 2020-08-31 | 2020-08-25 | Complete
Aug | 2020-09-30 | 2020-09-28 | Complete
Sep | 2020-10-31 | 2020-10-28 | Complete
Oct | 2020-11-30 | 2020-11-27 | Complete
Nov | 2020-12-31 | 2020-12-28 | Complete
Dec | 2021-01-31

## compliance iso raw
Column1 | Requirement | Due | Completion Date | Column5 | Column6 | Column7 | Column8
| Generation information for Renewable and Green Energy Verification | 43874 | NA for 2020 |  |  |  | x
| Generating Capacity Reports | 43890 | NA for 2020 |  |  |  | x
| ERCOT Polled Settlement (EPS) metered generation units | 43891 | NA for 2020 |  |  |  | x
| Emissions Reporting | 43891 | NA for 2020 |  |  |  | x
| Generation Fuel Mix Report | 43891 | NA for 2020 |  |  |  | x
| Seasonal Voltage Profile Settings-Spring | 43905 | NA for 2020 |  |  |  | x
| NPRR928- Cyber Security Appointment -Market Participants | 43924 | NA for 2020 |  |  |  | x
| Quarterly MWh production data | 43951 | NA for 2020 |  |  |  | x
| PUCT Contact and Emergency Information Annual Report | 43952 | 43949 |  |  |  | x
| Weatherization Plan Attestation- Summer | 43983 | NA for 2020 |  |  |  | x
| Seasonal Voltage Profile Settings-Summer | 43997 | NA for 2020 |  |  |  | x
| Survey for Frequenccy Response Capability Limitation for IRR's | 44012 | 44012 |  |  |  | x
| Implementation of TSAT | 44044 | pending |  |  |  | x
| Seasonal Voltage Profile Settings-Fall | 44089 | 44089 |  |  |  | x
| ERCOT NPRR Check | 44089 | 44089 |  |  |  | x
| ERCOT NRRGRR Check | 44089 | 44089 |  |  |  | x
| ERCOT Survey Chack | 44089 | 44089 |  |  |  | x
| Digital Certificate Audit Attestation | 44105 | 44078 |  |  |  | x
| ERCOT NPRR Check | 44134 | 44132 |  |  |  | x
| ERCOT NRRGRR Check | 44134 | 44132 |  |  |  | x
| ERCOT Survey Chack | 44134 | 44132 |  |  |  | x
| Section 1600 Reporting Confirmation | 44150 | 44145
| ERCOT NPRR Check | 44165 | 44165 |  |  |  | x
| ERCOT NRRGRR Check | 44165 | 44165 |  |  |  | x
| ERCOT Survey Chack | 44165 | 44165 |  |  |  | x
| Weatherization Plan Attestation-Winter | 44166 | 44165 |  |  |  | x
| Seasonal Voltage Profile Settings-Winter | 44180 | 44166 |  |  |  | x
| TPL-001-4 | 44182 | 44181
| ERCOT NPRR Check | 44196 | 44193 |  |  |  | x
| ERCOT NRRGRR Check | 44196 | 44193 |  |  |  | x
| ERCOT Survey Chack | 44196 | 44193 |  |  |  | x
| PUC EOP Drill | As required |  |  |  |  | x

## compliance ISO
Table 10.2 ISO/PUCT Compliance
Requirement | Due | Completion Date
Generation information for Renewable and Green Energy Verification | 2020-02-13 | NA for 2020
Generating Capacity Reports | 2020-02-29 | NA for 2020
ERCOT Polled Settlement (EPS) metered generation units | 2020-03-01 | NA for 2020
Emissions Reporting | 2020-03-01 | NA for 2020
Generation Fuel Mix Report | 2020-03-01 | NA for 2020
Seasonal Voltage Profile Settings-Spring | 2020-03-15 | NA for 2020
NPRR928- Cyber Security Appointment -Market Participants | 2020-04-03 | NA for 2020
Quarterly MWh production data | 2020-04-30 | NA for 2020
PUCT Contact and Emergency Information Annual Report | 2020-05-01 | 2020-04-28
Weatherization Plan Attestation- Summer | 2020-06-01 | NA for 2020
Seasonal Voltage Profile Settings-Summer | 2020-06-15 | NA for 2020
Survey for Frequenccy Response Capability Limitation for IRR's | 2020-06-30 | 2020-06-30
Implementation of TSAT | 2020-08-01 | pending
Seasonal Voltage Profile Settings-Fall | 2020-09-15 | 2020-09-15
ERCOT NPRR Check | 2020-09-15 | 2020-09-15
ERCOT NRRGRR Check | 2020-09-15 | 2020-09-15
ERCOT Survey Chack | 2020-09-15 | 2020-09-15
Digital Certificate Audit Attestation | 2020-10-01 | 2020-09-04
ERCOT NPRR Check | 2020-10-30 | 2020-10-28
ERCOT NRRGRR Check | 2020-10-30 | 2020-10-28
ERCOT Survey Chack | 2020-10-30 | 2020-10-28
Section 1600 Reporting Confirmation | 2020-11-15 | 2020-11-10
ERCOT NPRR Check | 2020-11-30 | 2020-11-30
ERCOT NRRGRR Check | 2020-11-30 | 2020-11-30
ERCOT Survey Chack | 2020-11-30 | 2020-11-30
Weatherization Plan Attestation-Winter | 2020-12-01 | 2020-11-30
Seasonal Voltage Profile Settings-Winter | 2020-12-15 | 2020-12-01
TPL-001-4 | 2020-12-17 | 2020-12-16
ERCOT NPRR Check | 2020-12-31 | 2020-12-28
ERCOT NRRGRR Check | 2020-12-31 | 2020-12-28
ERCOT Survey Chack | 2020-12-31 | 2020-12-28
PUC EOP Drill | As required
Formulas:
Due = Query_ISO_PUCT_Compliance_Prospero[Due]

## compliance nerc raw
Requirement | Due | Completion Date | Column4 | Column5
PRC-002-2 | 43831 | 43917 |  | x
PRC-005-6 | 43831 | 43921 |  | x
PRC-019-2 | 43831 | 43909 |  | x
PRC-024-2 | 43831 | 43909 |  | x
PRC-025-2 | 43831 | 43909 |  | x
PRC-027-1 | 43831 | 43909 |  | x
TPL-007-3 | 43831 | 43917 |  | x
TexasRE Registration | 43917 | 43928.7478 |  | x
CIP-002-5.1a | 43922 | 43922 |  | x
CIP-003-8 | 43922 | 43922 |  | x
COM-001-3/IRO-010-2/TOP-003-3 | 43922 | 43921 |  | x
COM-002-4/IRO-001-4/TOP-001-4 | 43922 | 43920 |  | x
EOP-004-4 | 43922 | 43921 |  | x
FAC-003-4 | 43922 | 43921 |  | x
FAC-008-3 | 43922 | 43921 |  | x
PRC-027-1 Procedure and Option Choice | 43922 | 43957 |  | x
FAC-003 Quarterly Vegetation Outage Report | 43951 | 43951 |  | x
MIDAS Reporting | 43951 | 43951 |  | x
CIP-002 Assessment | 44015 | 44021 |  | x
CIP-003 Senior Manager | 44015 | 44021 |  | x
FAC-003 Quarterly Vegetation Outage Report | 44042 | 44042 |  | x
MIDAS Reporting | 44042 | 44042 |  | x
NERC Alert - Supply Chain Risk | 44046 | 44021 |  | x
NERC GOP Compliance Review | 44106 | 44106
MIDAS Reporting | 44134 | 44123 |  | x
FAC-003 Quarterly Vegetation Outage Report | 44134 | 44119 |  | x
NERC GOP Compliance Review | 44134 | 44126 |  | x
Texas RE Inherent Risk Assessment | 44134 | 44134 |  | x
CIP-003-8 Incident Rsponse Plan Testing - Appendix C | 44141 | 44130 |  | s
PER-006-1 Program Manual and Appendix | 44225 |  |  | x
PRC-005-6 4-CM Battery Check - January | 44242 |  |  | s
CIP-003-8 Physical Security Check - January | 44242 |  |  | s
CIP-003-8 TCARM Check - January | 44242 |  |  | s
GADS - Any updates for the prior year; Q4 | 44242 |  |  | s
NERC GOP Compliance Review - January | 44255 |  |  | s
MIDAS - Any updates for the prior year; Q4 | 44256 |  |  | s
PRC-005-6 4-CM Battery Check - February | 44270 |  |  | s
CIP-003-8 Physical Security Check - February | 44270 |  |  | s
CIP-003-8 TCARM Check - February | 44270 |  |  | s
NERC GOP Compliance Review - February | 44286 |  |  | s
PRC-005-6 4-CM Battery Check - March | 44301 |  |  | s
CIP-003-8 Physical Security Check - March | 44301 |  |  | s
CIP-003-8 TCARM Check - March | 44301 |  |  | s
FAC-003-4 TRE Report Q1 | 44306 |  |  | s
NERC GOP Compliance Review - March | 44316 |  |  | s
PRC-005-6 4-CM Battery Check - April | 44331 |  |  | s
CIP-003-8 Physical Security Check - April | 44331 |  |  | s
CIP-003-8 TCARM Check - April | 44331 |  |  | s
GADS - Q1 | 44331 |  |  | s
MIDAS - Q1 | 44346 |  |  | s
NERC GOP Compliance Review - April | 44347 |  |  | s
PRC-005-6 4-CM Battery Check - May | 44362 |  |  | s
CIP-003-8 Physical Security Check - May | 44362 |  |  | s
CIP-003-8 TCARM Check - May | 44362 |  |  | s
NERC Geomagnetic Disturbance Data Report | 44377 |  |  | s
NERC GOP Compliance Review - May | 44377 |  |  | s
CIP-002-5.1a Assessment | 44378 |  |  | s
PRC-005-6 4-CM Battery Check - June | 44392 |  |  | s
CIP-003-8 Physical Security Check - June | 44392 |  |  | s
CIP-003-8 TCARM Check - June | 44392 |  |  | s
FAC-003-4 TRE Report Q2 | 44397 |  |  | s
NERC GOP Compliance Review - June | 44408 |  |  | s
PRC-005-6 4-CM Battery Check - July | 44423 |  |  | s
CIP-003-8 Physical Security Check - July | 44423 |  |  | s
CIP-003-8 TCARM Check - July | 44423 |  |  | s
GADS - Q2 | 44423 |  |  | s
MIDAS - Q2 | 44437 |  |  | s
NERC GOP Compliance Review - July | 44439 |  |  | s
PRC-005-6 4-CM Battery Check - August | 44454 |  |  | s
CIP-003-8 Physical Security Check - August | 44454 |  |  | s
CIP-003-8 TCARM Check - August | 44454 |  |  | s
NERC GOP Compliance Review - August | 44469 |  |  | s
PRC-005-6 4-CM Battery Check - September | 44484 |  |  | s
CIP-003-8 Physical Security Check - September | 44484 |  |  | s
CIP-003-8 TCARM Check - September | 44484 |  |  | s
FAC-003-4 TRE Report Q3 | 44489 |  |  | s
NERC GOP Compliance Review - September | 44500 |  |  | s
PRC-005-6 4-CM Battery Check - October | 44515 |  |  | s
CIP-003-8 Physical Security Check - October | 44515 |  |  | s
CIP-003-8 TCARM Check - October | 44515 |  |  | s
GADS - Q3 | 44515 |  |  | s
MIDAS - Q3 | 44529 |  |  | s
PRC-005-6 18-CM Battery Check | 44530 |  |  | s
NERC GOP Compliance Review - October | 44530 |  |  | s
PRC-005-6 4-CM Battery Check - November | 44545 |  |  | s
CIP-003-8 Physical Security Check - November | 44545 |  |  | s
CIP-003-8 TCARM Check - November | 44545 |  |  | s
NERC GOP Compliance Review - November | 44561 |  |  | s
PRC-005-6 4-CM Battery Check - December | 44576 |  |  | s
CIP-003-8 Physical Security Check - December | 44576 |  |  | s
CIP-003-8 TCARM Check - December | 44576 |  |  | s
FAC-003-4 TRE Report Q4 | 44581 |  |  | s
NERC GOP Compliance Review - December | 44592 |  |  | s

## compliance NERC
Table 10.3 NERC compliance
Requirement | Due | Completion Date
PRC-002-2 | 2020-01-01 | 2020-03-27
PRC-005-6 | 2020-01-01 | 2020-03-31
PRC-019-2 | 2020-01-01 | 2020-03-19
PRC-024-2 | 2020-01-01 | 2020-03-19
PRC-025-2 | 2020-01-01 | 2020-03-19
PRC-027-1 | 2020-01-01 | 2020-03-19
TPL-007-3 | 2020-01-01 | 2020-03-27
TexasRE Registration | 2020-03-27 | 2020-04-07 17:57
CIP-002-5.1a | 2020-04-01 | 2020-04-01
CIP-003-8 | 2020-04-01 | 2020-04-01
COM-001-3/IRO-010-2/TOP-003-3 | 2020-04-01 | 2020-03-31
COM-002-4/IRO-001-4/TOP-001-4 | 2020-04-01 | 2020-03-30
EOP-004-4 | 2020-04-01 | 2020-03-31
FAC-003-4 | 2020-04-01 | 2020-03-31
FAC-008-3 | 2020-04-01 | 2020-03-31
PRC-027-1 Procedure and Option Choice | 2020-04-01 | 2020-05-06
FAC-003 Quarterly Vegetation Outage Report | 2020-04-30 | 2020-04-30
MIDAS Reporting | 2020-04-30 | 2020-04-30
CIP-002 Assessment | 2020-07-03 | 2020-07-09
CIP-003 Senior Manager | 2020-07-03 | 2020-07-09
FAC-003 Quarterly Vegetation Outage Report | 2020-07-30 | 2020-07-30
MIDAS Reporting | 2020-07-30 | 2020-07-30
NERC Alert - Supply Chain Risk | 2020-08-03 | 2020-07-09
NERC GOP Compliance Review | 2020-10-02 | 2020-10-02
MIDAS Reporting | 2020-10-30 | 2020-10-19
FAC-003 Quarterly Vegetation Outage Report | 2020-10-30 | 2020-10-15
NERC GOP Compliance Review | 2020-10-30 | 2020-10-22
Texas RE Inherent Risk Assessment | 2020-10-30 | 2020-10-30
CIP-003-8 Incident Rsponse Plan Testing - Appendix C | 2020-11-06 | 2020-10-26
PER-006-1 Program Manual and Appendix | 2021-01-29
PRC-005-6 4-CM Battery Check - January | 2021-02-15
CIP-003-8 Physical Security Check - January | 2021-02-15
CIP-003-8 TCARM Check - January | 2021-02-15
GADS - Any updates for the prior year; Q4 | 2021-02-15
NERC GOP Compliance Review - January | 2021-02-28
MIDAS - Any updates for the prior year; Q4 | 2021-03-01
PRC-005-6 4-CM Battery Check - February | 2021-03-15
CIP-003-8 Physical Security Check - February | 2021-03-15
CIP-003-8 TCARM Check - February | 2021-03-15
NERC GOP Compliance Review - February | 2021-03-31
PRC-005-6 4-CM Battery Check - March | 2021-04-15
CIP-003-8 Physical Security Check - March | 2021-04-15
CIP-003-8 TCARM Check - March | 2021-04-15
FAC-003-4 TRE Report Q1 | 2021-04-20
NERC GOP Compliance Review - March | 2021-04-30
PRC-005-6 4-CM Battery Check - April | 2021-05-15
CIP-003-8 Physical Security Check - April | 2021-05-15
CIP-003-8 TCARM Check - April | 2021-05-15
GADS - Q1 | 2021-05-15
MIDAS - Q1 | 2021-05-30
NERC GOP Compliance Review - April | 2021-05-31
PRC-005-6 4-CM Battery Check - May | 2021-06-15
CIP-003-8 Physical Security Check - May | 2021-06-15
CIP-003-8 TCARM Check - May | 2021-06-15
NERC Geomagnetic Disturbance Data Report | 2021-06-30
NERC GOP Compliance Review - May | 2021-06-30
CIP-002-5.1a Assessment | 2021-07-01
PRC-005-6 4-CM Battery Check - June | 2021-07-15
CIP-003-8 Physical Security Check - June | 2021-07-15
CIP-003-8 TCARM Check - June | 2021-07-15
FAC-003-4 TRE Report Q2 | 2021-07-20
NERC GOP Compliance Review - June | 2021-07-31
PRC-005-6 4-CM Battery Check - July | 2021-08-15
CIP-003-8 Physical Security Check - July | 2021-08-15
CIP-003-8 TCARM Check - July | 2021-08-15
GADS - Q2 | 2021-08-15
MIDAS - Q2 | 2021-08-29
NERC GOP Compliance Review - July | 2021-08-31
PRC-005-6 4-CM Battery Check - August | 2021-09-15
CIP-003-8 Physical Security Check - August | 2021-09-15
CIP-003-8 TCARM Check - August | 2021-09-15
NERC GOP Compliance Review - August | 2021-09-30
PRC-005-6 4-CM Battery Check - September | 2021-10-15
CIP-003-8 Physical Security Check - September | 2021-10-15
CIP-003-8 TCARM Check - September | 2021-10-15
FAC-003-4 TRE Report Q3 | 2021-10-20
NERC GOP Compliance Review - September | 2021-10-31
PRC-005-6 4-CM Battery Check - October | 2021-11-15
CIP-003-8 Physical Security Check - October | 2021-11-15
CIP-003-8 TCARM Check - October | 2021-11-15
GADS - Q3 | 2021-11-15
MIDAS - Q3 | 2021-11-29
PRC-005-6 18-CM Battery Check | 2021-11-30
NERC GOP Compliance Review - October | 2021-11-30
PRC-005-6 4-CM Battery Check - November | 2021-12-15
CIP-003-8 Physical Security Check - November | 2021-12-15
CIP-003-8 TCARM Check - November | 2021-12-15
NERC GOP Compliance Review - November | 2021-12-31
PRC-005-6 4-CM Battery Check - December | 2022-01-15
CIP-003-8 Physical Security Check - December | 2022-01-15
CIP-003-8 TCARM Check - December | 2022-01-15
FAC-003-4 TRE Report Q4 | 2022-01-20
NERC GOP Compliance Review - December | 2022-01-31
0 | 0
Formulas:
Due = Query_NERC_Compliance_Prospero[Due]
Completion Date = IF(Query_NERC_Compliance_Prospero[[Completion Date ]]="","",Query_NERC_Compliance_Prospero[[Completion Date ]])

## compliance tax raw
Prospero Energy Project- Non Income and Property Tax Filings | Column2 | Column3 | Column4 | Column5 | Column6 | Column7 | Column8
Certificate of Completion | Column7: Task In PowerHub?
Year | Column2: Due; Column3: Submitted; Column4: Status; Column5: Invoice Received
Andrews County Judge | Column2: 44196; Column3: 44053; Column4: Complete; Column7: x
Andrews County Hospital | Column2: 44196; Column3: 44053; Column4: Complete; Column7: x
Andrews County Tax Abatemeent- Annual Payments (Real Property Tax Payments)
Entity | Column2: Due; Column3: Submitted; Column4: Status; Column5: Invoice Received
Andrews County | Column2: 44227; Column5: 44126; Column6: 382425; Column7: x
Andrews Hospital | Column2: 44227; Column5: 44126; Column6: Included with the Andrews ISD; Column7: x
Andrews ISD | Column2: 44227; Column5: 44126; Column6: 1227429.75; Column7: x
Abatement Compliance Letter | Column6: 1609854.75
Entity | Column2: Due; Column3: Submitted; Column4: Status; Column5: Invoice Received
Andrews County | Column2: 44271; Column7: x
Andrews Hospital | Column2: 44271; Column7: x
Property Tax Payments: Reimbursements to Landowners by Project
Entity | Column2: Due; Column3: Submitted; Column4: Status; Column5: Invoice Received
Malcolm and Khendra Davis | Column2: 44227; Column6: not received from LO yet; Column7: x
Estate of Willie G Davis and Wanda Davis | Column2: 44227; Column6: not received from LO yet; Column7: x
Michael Shay Floyd | Column2: 44227; Column6: not received from LO yet; Column7: x
Todd Mueller and Stefanie Howard | Column2: 44227; Column6: not received from LO yet; Column7: x
Andrews County Tax Assessment - Property Tax - Annual Payments
Entity | Column2: Due; Column3: Submitted; Column4: Status; Column5: Invoice Received
Andrews Hospital and ISD | 43861 | 44196 | paid | 44150 |  | x
Andrews County | 43861 | 44196 | paid | 44150 |  | x
Andrews County Tax Assessment - 3rd Party Delivery of Calculations
Year | Column2: Due; Column3: Submitted; Column4: Status; Column5: Invoice Received
2020 | Column2: 44136; Column3: 44126; Column7: x; Column8: Will be paid on Nov draw.
Chapter 313 Annual Eligibility Report (Form 50-772A); Biennial Progress Report (Form 50-773B); Job Creation Compliance Report (Form 50-825)
Entity | Column2: Due; Column3: Submitted; Column4: Status; Column5: Invoice Received
Job Creation Compliance Report | Column2: 44788; Column7: x
Biennial Progress Report ( BISD) | Column2: 43997; Column3: 43991; Column4: Complete; Column7: x
Compliance Data Request- 313 | Column2: 43997; Column3: 43991; Column4: Complete; Column7: x
Sales and use tax filings
Entity | Column2: Due; Column3: Submitted; Column4: Status
Texas State Comptroller | Column2: 43941; Column3: N/A; Column4: N/A
Texas State Comptroller | Column2: 44032; Column3: 44032; Column4: Complete; Column7: x
Texas State Comptroller | Column2: 44124; Column3: 44124; Column4: Complete; Column7: x
Texas State Comptroller | Column2: 44216; Column7: x

## compliance - tax
Table 10.4 Non-Income and Property Tax Filings
Certificate of Completion
Entity | Due | Submitted | Status
Andrews County Judge | 2020-12-31 | 2020-08-10 | Complete
Andrews County Hospital | 2020-12-31 | 2020-08-10 | Complete
Andrews County Tax Abatemeent- Annual Payments
Entity | Due | Submitted | Status
Andrews County | 2021-01-31
Andrews Hospital | 2021-01-31
Andrews ISD | 2021-01-31
Abatement Compliance Letter
Entity | Due | Submitted | Status
Andrews County | 2021-03-16
Andrews Hospital | 2021-03-16
Property Tax Payments: Reimbursement to Landowners by Project
Entity | Due | Submitted | Status
Malcolm and Khendra Davis | 2021-01-31
Estate of Willie G Davis and Wanda Davis | 2021-01-31
Michael Shay Floyd | 2021-01-31
Todd Mueller and Stefanie Howard | 2021-01-31
Andrews County Tax Assessment - Property Tax Annual Payments
Entity | Due | Submitted | Status
Andrews Hospital and ISD | 2020-01-31 | 2020-12-31 | Paid
Andrews County | 2020-01-31 | 2020-12-31 | Paid
Andrews County Tax Assessment - 3rd Party Delivery of Calculations
Year | Due | Submitted | Status
2020 | 2020-11-01 | 2020-10-22
Chapter 313 Annual Eligibility Report; Biennial Progress Report; Job Creation Compliance Report
Entity | Due | Submitted | Status
Job Creation Compliance Report (50-825) | 2022-08-15
Biennial Progress Report - BISD (50-773B) | 2020-06-15 | 2020-06-09 | Complete
Compliance Data Request- 313 (50-772A) | 2020-06-15 | 2020-06-09 | Complete
Sales and use tax filings
Entity | Due | Submitted | Status
Texas State Comptroller | 2020-04-20 | N/A | N/A
Texas State Comptroller | 2020-07-20 | 2020-07-20 | Complete
Texas State Comptroller | 2020-10-20 | 2020-10-20 | Complete
Texas State Comptroller | 2021-01-20